## Drawing List
|  |  |  | Date: | 2020-12-03
|  |  |  | Ref. Transmittal No.: | HT-D1-CTC-GEL-20-0032
HSINTA POWER PLANT COMBINED CYCLE RENEWAL PROJECT UNIT 1 -3 DRAWING / DOCUMENT SUBMITTAL LIST
CLASS - A: Approval R: Review I: Information F: Final AB: As-built Z: Other
NO. | CUSTOMER DRAWING NO. | REV. | DOCUMENT TITLE | CLASS | CONTRACTOR DOCUMENT NO. | REMARK
1 | HT0-1-AFM01-D5001 | A | P&ID - LEGEND (1/2) | A | XB12A-00000-001
2 | HT0-1-AFM01-D5002 | A | P&ID - LEGEND (2/2) | A | XB12A-00000-002
3 | HT0-1-GWM01-D5001 | A | P&ID - GAS TURBINE SPRAY WATER SYSTEM (COMMON) (1/1) | A | XB12A-00GTW-001
4 | HT0-1-KDM01-D5001 | A | P&ID - DEMINERALIZED WATER TREATMENT SYSTEM (COMMON) (1/2) | A | XB12A-00DWS-001
5 | HT0-1-KDM01-D5011 | A | P&ID - DEMINERALIZED WATER TRANSFER SYSTEM (COMMON) (1/2) | A | XB12A-00DWD-001
6 | HT0-1-KDM01-D5012 | A | P&ID - DEMINERALIZED WATER TRANSFER SYSTEM (COMMON) (2/2) | A | XB12A-00DWD-002
7 | HT0-1-KGM01-D5001 | A | P&ID - SEAWATER DESALINATION SYSTEM (COMMON) (1/2) | A | XB12A-00SDA-001
8 | HT0-1-KGM01-D5002 | A | P&ID - SEAWATER DESALINATION SYSTEM (COMMON) (2/3) | A | XB12A-00SDA-002
9 | HT0-1-KRM01-D5013 | A | P&ID - AMMONIA STORAGE AND SUPPLY SYSTEM (COMMON) (1/1) | A | XB12A-00AMO-013
10 | HT0-1-KVM01-D5001 | A | P&ID - RECOVERY WATER SYSTEM (COMMON) (1/6) | A | XB12A-00REW-001
11 | HT0-1-KVM01-D5002 | A | P&ID - RECOVERY WATER SYSTEM (COMMON) (2/6) | A | XB12A-00REW-002
12 | HT0-1-KVM01-D5003 | A | P&ID - RECOVERY WATER SYSTEM (COMMON) (3/6) | A | XB12A-00REW-003
13 | HT0-1-KVM01-D5004 | A | P&ID - RECOVERY WATER SYSTEM (COMMON) (4/6) | A | XB12A-00REW-004
14 | HT0-1-KVM01-D5005 | A | P&ID - RECOVERY WATER SYSTEM (COMMON) (5/6) | A | XB12A-00REW-005
15 | HT0-1-KVM01-D5006 | A | P&ID - RECOVERY WATER SYSTEM (COMMON) (6/6) | A | XB12A-00REW-006
16 | HT0-1-KWM01-D5001 | A | P&ID - WASTEWATER TREATMENT SYSTEM (COMMON) (1/4) | A | XB12A-00WWT-001
17 | HT0-1-KWM01-D5011 | A | P&ID - WASTEWATER COLLECTION SYSTEM (OILY)(COMMON) (1/5) | A | XB12A-00WWC-011
18 | HT0-1-KWM01-D5012 | A | P&ID - WASTEWATER COLLECTION SYSTEM (OILY)(COMMON) (2/5) | A | XB12A-00WWC-012
19 | HT0-1-KWM01-D5013 | A | P&ID - WASTEWATER COLLECTION SYSTEM (OILY)(COMMON) (3/5) | A | XB12A-00WWC-013
20 | HT0-1-KWM01-D5014 | A | P&ID - WASTEWATER COLLECTION SYSTEM (OILY)(COMMON) (4/5) | A | XB12A-00WWC-014
21 | HT0-1-KWM01-D5015 | A | P&ID - WASTEWATER COLLECTION SYSTEM (OILY)(COMMON) (5/5) | A | XB12A-00WWC-015
22 | HT0-1-KWM01-D5021 | A | P&ID - WASTEWATER COLLECTION SYSTEM (LOW CHEMICAL)(COMMON) (1/6) | A | XB12A-00WWC-021
23 | HT0-1-KWM01-D5022 | A | P&ID - WASTEWATER COLLECTION SYSTEM (LOW CHEMICAL)(COMMON) (2/6) | A | XB12A-00WWC-022
24 | HT0-1-KWM01-D5023 | A | P&ID - WASTEWATER COLLECTION SYSTEM (LOW CHEMICAL)(COMMON) (3/6) | A | XB12A-00WWC-023
25 | HT0-1-KWM01-D5024 | A | P&ID - WASTEWATER COLLECTION SYSTEM (LOW CHEMICAL)(COMMON) (4/6) | A | XB12A-00WWC-024
26 | HT0-1-KWM01-D5025 | A | P&ID - WASTEWATER COLLECTION SYSTEM (LOW CHEMICAL)(COMMON) (5/6) | A | XB12A-00WWC-025
27 | HT0-1-KWM01-D5026 | A | P&ID - WASTEWATER COLLECTION SYSTEM (LOW CHEMICAL)(COMMON) (6/6) | A | XB12A-00WWC-026
28 | HT0-1-KWM01-D5031 | A | P&ID - WASTEWATER COLLECTION SYSTEM (H.C. CHEMICAL)(COMMON) (1/4) | A | XB12A-00WWC-031
29 | HT0-1-KWM01-D5032 | A | P&ID - WASTEWATER COLLECTION SYSTEM (H.C. CHEMICAL)(COMMON) (2/4) | A | XB12A-00WWC-032
30 | HT0-1-KWM01-D5033 | A | P&ID - WASTEWATER COLLECTION SYSTEM (H.C. CHEMICAL)(COMMON) (3/4) | A | XB12A-00WWC-033
31 | HT0-1-KWM01-D5034 | A | P&ID - WASTEWATER COLLECTION SYSTEM (H.C. CHEMICAL)(COMMON) (4/4) | A | XB12A-00WWC-034
32 | HT0-1-KWM01-D5041 | A | P&ID - WASTEWATER COLLECTION SYSTEM (SEAWATER LEAKAGE)(COMMON) (1/3) | A | XB12A-00WWC-041
33 | HT0-1-KWM01-D5042 | A | P&ID - WASTEWATER COLLECTION SYSTEM (SEAWATER LEAKAGE)(COMMON) (2/3) | A | XB12A-00WWC-042
34 | HT0-1-KWM01-D5043 | A | P&ID - WASTEWATER COLLECTION SYSTEM (SEAWATER LEAKAGE)(COMMON) (3/3) | A | XB12A-00WWC-043
35 | HT0-1-KWM01-D5061 | A | P&ID - WASTEWATER COLLECTION SYSTEM (SANITARY)(COMMON) (1/5) | A | XB12A-00WWC-001
36 | HT0-1-KWM01-D5062 | A | P&ID - WASTEWATER COLLECTION SYSTEM (SANITARY)(COMMON) (2/5) | A | XB12A-00WWC-002
37 | HT0-1-KWM01-D5063 | A | P&ID - WASTEWATER COLLECTION SYSTEM (SANITARY)(COMMON) (3/5) | A | XB12A-00WWC-003
38 | HT0-1-KWM01-D5064 | A | P&ID - WASTEWATER COLLECTION SYSTEM (SANITARY)(COMMON) (4/5) | A | XB12A-00WWC-004
39 | HT0-1-KWM01-D5065 | A | P&ID - WASTEWATER COLLECTION SYSTEM (SANITARY)(COMMON) (5/5) | A | XB12A-00WWC-005
40 | HT0-1-TSM01-D5001 | A | P&ID - AUXILIARY STEAM SYSTEM (COMMON) (1/2) | A | XB12A-00AXS-001
41 | HT0-1-UEM01-D5001 | A | P&ID - INSTRUMENT AIR AND PLANT AIR SYSTEM (COMMON) (1/4) | A | XB12A-00CPA-001
42 | HT0-1-UEM01-D5002 | A | P&ID - INSTRUMENT AIR AND PLANT AIR SYSTEM (COMMON) (2/4) | A | XB12A-00CPA-002
43 | HT0-1-UEM01-D5003 | A | P&ID - INSTRUMENT AIR AND PLANT AIR SYSTEM (COMMON) (3/4) | A | XB12A-00CPA-003
44 | HT0-1-UEM01-D5004 | A | P&ID - INSTRUMENT AIR AND PLANT AIR SYSTEM (COMMON) (4/4) | A | XB12A-00CPA-004
45 | HT0-1-UFM01-D5001 | A | P&ID - SERVICE WATER SYSTEM (COMMON) (1/1) | A | XB12A-00SWS-001
46 | HT0-1-URM01-D5001 | A | P&ID - POTABLE WATER SYSTEM (COMMON) (1/4) | A | XB12A-00PTW-001
47 | HT0-1-URM01-D5002 | A | P&ID - POTABLE WATER SYSTEM (COMMON) (2/4) | A | XB12A-00PTW-002
48 | HT0-1-URM01-D5003 | A | P&ID - POTABLE WATER SYSTEM (COMMON) (3/4) | A | XB12A-00PTW-003
49 | HT0-1-URM01-D5004 | A | P&ID - POTABLE WATER SYSTEM (COMMON) (4/4) | A | XB12A-00PTW-004
50 | HT0-1-URM01-D5101 | A | P&ID - RAW WATER SYSTEM (COMMON) (1/3) | A | XB12A-00RAW-001
51 | HT0-1-URM01-D5102 | A | P&ID - RAW WATER SYSTEM (COMMON) (2/3) | A | XB12A-00RAW-002
52 | HT0-1-URM01-D5103 | A | P&ID - RAW WATER SYSTEM (COMMON) (3/3) | A | XB12A-00RAW-003
53 | HT0-1-UWM01-D5001 | A | P&ID - CABLE TUNNEL DRAINAGE COLLECTION SYSTEM (COMMON) (1/1) | A | XB12A-00WCT-001
54 | HT1-1-KRM01-D5001 | A | P&ID - AMMONIA STORAGE AND SUPPLY SYSTEM (UNIT-1) (1/4) | A | XB12A-00AMO-001
55 | HT1-1-KRM01-D5002 | A | P&ID - AMMONIA STORAGE AND SUPPLY SYSTEM (UNIT-1) (2/4) | A | XB12A-00AMO-002
56 | HT1-1-KRM01-D5003 | A | P&ID - AMMONIA STORAGE AND SUPPLY SYSTEM (UNIT-1) (3/4) | A | XB12A-00AMO-003
57 | HT1-1-KRM01-D5004 | A | P&ID - AMMONIA STORAGE AND SUPPLY SYSTEM (UNIT-1) (4/4) | A | XB12A-00AMO-004
58 | HT1-1-TCM01-D5001 | A | P&ID - CONDENSATE MAKEUP SYSTEM (UNIT-1) (1/1) | A | XB12A-00CON-001
59 | HT1-1-TGM01-D5001 | A | P&ID - TURBINE LUBE OIL TANK SYSTEM (UNIT-1) (1/1) | A | XB12A-00LBO-001
60 | HT1-1-UCM01-D5001 | A | P&ID - CIRCULATING WATER SYSTEM (UNIT-1) (1/2) | A | XB12A-00CWS-001
61 | HT1-1-UCM01-D5002 | A | P&ID - CIRCULATING WATER SYSTEM (UNIT-1) (2/2) | A | XB12A-00CWS-002
62 | HT2-1-KRM01-D5005 | A | P&ID - AMMONIA STORAGE AND SUPPLY SYSTEM (UNIT-2) (1/4) | A | XB12A-00AMO-005
63 | HT2-1-KRM01-D5006 | A | P&ID - AMMONIA STORAGE AND SUPPLY SYSTEM (UNIT-2) (2/4) | A | XB12A-00AMO-006
64 | HT2-1-KRM01-D5007 | A | P&ID - AMMONIA STORAGE AND SUPPLY SYSTEM (UNIT-2) (3/4) | A | XB12A-00AMO-007
65 | HT2-1-KRM01-D5008 | A | P&ID - AMMONIA STORAGE AND SUPPLY SYSTEM (UNIT-2) (4/4) | A | XB12A-00AMO-008
66 | HT2-1-TCM01-D5002 | A | P&ID - CONDENSATE MAKEUP SYSTEM (UNIT-2) (1/1) | A | XB12A-00CON-002
67 | HT2-1-TGM01-D5002 | A | P&ID - TURBINE LUBE OIL TANK SYSTEM (UNIT-2) (1/1) | A | XB12A-00LBO-002
68 | HT2-1-UCM01-D5003 | A | P&ID - CIRCULATING WATER SYSTEM (UNIT-2) (1/2) | A | XB12A-00CWS-003
69 | HT2-1-UCM01-D5004 | A | P&ID - CIRCULATING WATER SYSTEM (UNIT-2) (2/2) | A | XB12A-00CWS-004
70 | HT3-1-KRM01-D5009 | A | P&ID - AMMONIA STORAGE AND SUPPLY SYSTEM (UNIT-3) (1/4) | A | XB12A-00AMO-009
71 | HT3-1-KRM01-D5010 | A | P&ID - AMMONIA STORAGE AND SUPPLY SYSTEM (UNIT-3) (2/4) | A | XB12A-00AMO-010
72 | HT3-1-KRM01-D5011 | A | P&ID - AMMONIA STORAGE AND SUPPLY SYSTEM (UNIT-3) (3/4) | A | XB12A-00AMO-011
73 | HT3-1-KRM01-D5012 | A | P&ID - AMMONIA STORAGE AND SUPPLY SYSTEM (UNIT-3) (4/4) | A | XB12A-00AMO-012
74 | HT3-1-TCM01-D5003 | A | P&ID - CONDENSATE MAKEUP SYSTEM (UNIT-3) (1/1) | A | XB12A-00CON-003
75 | HT3-1-TGM01-D5003 | A | P&ID - TURBINE LUBE OIL TANK SYSTEM (UNIT-3) (1/1) | A | XB12A-00LBO-003
76 | HT3-1-UCM01-D5005 | A | P&ID - CIRCULATING WATER SYSTEM (UNIT-3) (1/2) | A | XB12A-00CWS-005
77 | HT3-1-UCM01-D5006 | A | P&ID - CIRCULATING WATER SYSTEM (UNIT-3) (2/2) | A | XB12A-00CWS-006